SECTION 09 84 36

Sound-Absorbing Ceiling Units

[Specifier Notes] – This document uses hidden text to guide the specifier through various options while editing the document.  Hidden text may be turned on by quickly clicking on the “Show/Hide” symbol “¶” in the ribbon or “File” above the ribbon at the top left, then to “Options” at the very lower left, then to “Display” on the left side of the menu pop-up, and then check the box next to “Hidden Text.”

Please delete this note before printing.

General

Section Includes

[Specifier Note] - Retain only those products required for this project and delete all others.

Unlit Acoustic Baffles.

Narrow Unlit Acoustic Baffles.

Narrow Acoustic Baffles Array.

Narrow Acoustic Baffle Modular Array.

Extra Narrow Unlit Acoustic Baffle.

Y-Shaped Unlit Acoustic Baffle.

Unlit Tapered Lay-In Acoustic Ceiling Tile.

Unlit Circular Acoustic Cloud.

Unlit Hexagonal Dome-Shaped Acoustic Reflector.

Unlit Acoustic Canopy.

Radial Arrayed Baffle Cloud.

Mounting Systems.

Related Sections

[Specifier Note] - Retain the sections that are related to the Work specified in this project and the products specified in this section.

Section 26 51 19 – LED Interior Lighting.

Section 09 51 23 – Acoustic Tile Ceilings.

Definitions:

NRC: Noise Reduction Coefficient.

PET: Polyethylene Terephthalate; the commercial name for polyester.

SAA: Sound Absorption Average.

Sabin: A sound measurement of the ability of one square foot of any surface texture in a room to absorb sound reflections.

Submittals

Submit in accordance with requirements of Section 01 30 00 - Administrative Requirements.

Product Data: Manufacturer's technical data sheets, specifications, performance data and installation instructions for all products referenced in the scope of work defined in this section.

Shop Drawings: Submit shop drawings required to depict the requirements for fabrication and installation. Include the following drawings as applicable:

Reflected ceiling plan to coordinate acoustic ceiling units with HVAC and any other items mounted in the ceiling.

Details such as sections, elevations, or isometric views of individual parts including location and appropriate detailing methods for transitions, terminations, penetrations, installation tolerances, and relationships to adjacent work.

Where the installation is required to comply with specific design criteria, include all details required to perform proper analysis.

Manufacturer’s standard fixture schedule coordinated with project requirements and the fixture schedule on the drawings.

[Specifier Note] – Retain the following paragraph if required for LEED or other sustainable criteria.

Selection Samples: Provide 3 by 4 inch samples depicting the manufacturer’s full range of options for selection of color and finish.

Verification Samples: Provide samples to verify specified finishes, profiles, and accessories.

[Specifier Note] – Retain the following paragraph if required for LEED or other sustainable criteria.

Sustainable Submittals:

Product data for PET material; indicating materials are red-list free.

Product data for PET material; indicating materials are 50% post-consumer content.

Warranty: Manufacturer’s sample warranty document, outlining its terms, conditions, limitations, and duration.

Quality Assurance

Manufacturer Qualifications: Primary products in this section to be provided by a manufacturer with no less than three years of experience producing the products specified in this section at a facility in the United States.

Installer's Qualifications: All work specified in this section is to be completed by a firm with demonstrated experience installing systems similar in scope and complexity to those specified.

Mock-Up: Arrange for the construction of a mock-up of the products specified in this section. Example must include one of each type specified, including the selected color and finish. Owner and Architect will verify acceptance of products and workmanship.

Accepted mockups may be incorporated into the work.

Provide mockups as indicated on the drawings.

Delivery, Storage and Handling

Deliver, store and handle materials and products in accordance with the manufacturer's instructions and recommendations and industry standards.

Store all materials in the manufacturer’s original packaging until ready for installation. Protect all products from damage or exposure to adverse environmental conditions, including weather, humidity, and dust.

Coordinate pallet sizes, weights, and delivery schedule with manufacturer.

Project Conditions

Begin installation only after spaces are enclosed and weather-tight, and after all wet work and overhead work has been completed.

Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's recommended limits.

CoorDInation and Scheduling

Coordinate locations of acoustic ceiling units with walls, ceilings, ceiling mounted components, fire partitions, and cabinets.

Warranty

[Specifier Notes] – For more information on manufacturer’s warranty see: https://www.focalpointlights.com/sites/default/files/FP_LimitedWarranty.pdf

Manufacturer’s Warranty: Manufacturer agrees to replace products that fail within the specified warranty period.

Duration: One year from date of Substantial Completion.

Products

MANUFACTURERS

[Specifier Notes] – Retain the following Paragraph if this document is a PROPRIETARY Specification, with Focal Point’s products listed as the Basis of Design. Delete if not required.

Basis of Design Manufacturer: Focal Point LLC.

Address: 4141 S Pulaski Road, Chicago, IL 60632.

Phone: (773) 247-9494

Website: www.focalpointlights.com/acousticsolutions

Email: acoustic.solutions@focalpointlights.com

[Specifier Notes] – Retain the following Paragraph if this document is written as a PERFORMANCE specification, without listing a manufacturer as a basis of design. Insert manufacturers that sell products comparable to those specified in this section. Delete if not required.

Manufacturer List:

Manufacturer:

Substitution Limitations:

Submit substitution requests in accordance with provisions of Section 01 60 00.

Single manufacturer to provide, from a single source, primary products and accessories specified in this section.

PERFORMANCE REQUIREMENTS

Sustainability Standards:

Recycled Content: Postconsumer recycled content not less than 50 percent for PET materials.

Certified Non-Toxic Materials: Provide PET materials Declare Labelled to be free of Red List Materials as defined by Living Building Challenge.

Fire Performance Characteristics: Provide products with manufacturer’s standard PET acoustic housing complying with the following:

[Specifier Notes] – Focal Point PET material has been tested to the values below, which exceed code minimum values.

Flame-Spread and Smoke-Developed Indexes: 0 and 300, respectively, when tested in accordance with ASTM E84.

Unlit Acoustic Baffle.

[Specifier Notes] – Retain the following Paragraph if this document is a PROPRIETARY Specification, with Focal Point’s products listed as the Basis of Design. Delete if not required.

For more information see: https://www.focalpointlights.com/products/acoustics-suspended-linear/seem-1-acoustic-unlit-ausm1s https://www.focalpointlights.com/products/acoustic-acoustic-linear-baffles/seem-1-acoustic-unlit-ausm1s

    - Basis of Design Product: Seem 1 Acoustic Unlit, by Focal Point.

Physical Requirements:

[Specifier Notes] – Modify the following paragraph to suit project requirements. Focal Point Seem 1 Acoustic is available in 1 inch increments. Maximum Length is 208 feet, minimum length is 3’ or 4’ depending on lighting options.

        - Length: Insert Custom Length.

[Specifier Notes] – Retain one of the five following paragraphs.

        - Height: As Indicated on Drawings.

        - Height: 7.25 inches.

        - Height: 11.25 inches.

        - Height: 15.25 inches.

[Specifier Notes] – Modify the following paragraph to suit project requirements. Focal Point Seem 1 Acoustic is available in 1 inch increments. Maximum custom height is 24 inches, minimum height is 6 inches.

        - Height: Insert Custom Height.

        - Width: 2.27 inches.

[Specifier Notes] – Retain one of the three following paragraphs.

Installation Method: Suspended.

Installation Method: Direct attached to grid or strut.

Installation Method: <Insert custom hardware>.

Sound Absorption Average: Apparent absorption value from total coverage area when tested from 200 Hz to 2500 Hz in accordance with ASTM C423.

[Specifier Notes] – Retain one of the three following paragraphs.

        - SAA Rating: 5.08 for baffles 12 inches tall at 12-inch spacing.

        - SAA Rating: 9.05 for baffles 12 inches tall at 18-inch spacing.

        - SAA Rating: 9.46 for baffles 12 inches tall at 24-inch spacing.

[Specifier Notes] – Retain the following Paragraph if this document is a PROPRIETARY Specification, with Focal Point’s products listed as the Basis of Design. Delete if not required.

For more information see: https://www.focalpointlights.com/products/acoustic-acoustic-linear-baffles/seem-2-acoustic-unlit-ausm2s

    - Basis of Design Product: Seem 2 Acoustic Unlit, by Focal Point.

Physical Requirements:

[Specifier Notes] – Modify the following paragraph to suit project requirements. Focal Point Seem 1 Acoustic is available in 1-inch increments. Maximum Length is 208 feet, minimum length is 3’ or 4’ depending on lighting options.

        - Length: Insert Custom Length.

[Specifier Notes] – Retain one of the four following Height paragraphs.

        - Height: As Indicated on Drawings.

        - Height: 7.25 inches.

        - Height: 11.25 inches.

        - Height: 15.25 inches.

[Specifier Notes] – Modify the following paragraph to suit project requirements. Focal Point Seem 1 Acoustic is available in 1-inch increments. Maximum custom height is 24 inches, minimum height is 6 inches.

        - Height: Insert Custom Height.

        - Width: 3.24 inches.

[Specifier Notes] – Retain one of the three following Installation Method paragraphs.

Installation Method: Suspended.

Installation Method: Direct attached to grid or strut.

Installation Method: <Insert custom hardware>.

Sound Absorption Average: Apparent absorption value from total coverage area when tested from 200 Hz to 2500 Hz in accordance with ASTM C423.

[Specifier Notes] – Retain one of the three following SAA Rating paragraphs.

        - SAA Rating: 10.26 for baffles 12 inches tall at 12-inch spacing.

        - SAA Rating: 11.67 for baffles 12 inches tall at 18-inch spacing.

        - SAA Rating: 12.43 for baffles 12 inches tall at 24-inch spacing.

Narrow Unlit Acoustic Baffle.

[Specifier Notes] – Retain the following Paragraph if this document is a PROPRIETARY Specification, with Focal Point’s products listed as the Basis of Design. Delete if not required.

For more information see: https://www.focalpointlights.com/products/acoustic-acoustic-linear-baffles/aircore-blade-auabs

    - Basis of Design Product: AirCore Blade, by Focal Point.

Physical Requirements:

[Specifier Notes] – Modify the following paragraph to suit project requirements. Focal Point AirCore Blade is available in 1 inch increments. Maximum Length is 8 feet, minimum is 2 feet.

Length: Insert Custom Length.

[Specifier Notes] – Retain one of the five following Height paragraphs.

Focal Point AirCore Blade is available in 1 inch increments. Maximum custom height is 24 inches, minimum height is 6 inches.

Height: 7.25 inches.

Height: 11.25 inches.

Height: 15.25 inches.

Height: Insert Custom Height.

Height: As Indicated on Drawings.

Width: 1.08 inches.

[Specifier Notes] – Retain one of the three following Installation Method paragraphs.

Installation Method: Suspended.

Installation Method: Direct attached to grid or strut.

Installation Method: <Insert custom hardware>.

Sound Absorption Average: Apparent absorption value from total coverage area when tested from 200 Hz to 2500 Hz in accordance with ASTM C423.

[Specifier Notes] – Retain one of the three following SAA Rating paragraphs.

SAA Rating: 6.78 for baffles 12 inches tall at 12-inch spacing.

SAA Rating: 7.35 for baffles 12 inches tall at 18-inch spacing.

SAA Rating: 7.61 for baffles 12 inches tall at 24-inch spacing.

Noise Reduction Coefficient: Apparent value from total coverage area when tested from 200 Hz to 2500 Hz in accordance with ASTM C423.

NRC Rating: 0.90 average.

Narrow Acoustic Baffle Array

[Specifier Notes] – Retain the following Paragraph if this document is a PROPRIETARY Specification, with Focal Point’s products listed as the Basis of Design. Delete if not required.

For more information on Air Core Bridge see: https://www.focalpointlights.com/products/acoustic-acoustic-integrated-ceiling-systems/aircore-bridge-auabg

Basis of Design Product: AirCore Bridge, by Focal Point Lights.

Physical Configuration:

[Specifier Notes] – Modify the following paragraph to suit project requirements. Focal Point AirCore Bridge is available in 1 inch increments. Maximum Length is 8 feet, minimum is 5 feet.

        - Length: Insert Custom Length.

[Specifier Notes] – Retain one of the five following Height paragraphs.

Focal Point AirCore Blade is available in 1 inch increments. Maximum custom height is 24 inches, minimum height is 6 inches.

        - Height: As Indicated on Drawings.

        - Height: 7.25 inches.

        - Height: 11.25 inches.

        - Height: 15.25 inches.

        - Height: Insert Custom Height.

        - Width: 1.08 inches.

[Specifier Notes] – Retain one of the three following Style paragraphs.

        - Style: Truss.

          - Description: Baffles of uniform length attached to two suspended linear luminaires as indicated on drawings.

        - Style: Cantilever.

          - Description: Suspended baffles of uniform length attached to one suspended linear luminaire as indicated on drawings.

        - Style: Cantilever Wave.

          - Description Suspended baffles of varying lengths attached to one suspended linear luminaire as indicated on drawings.

Installation Method: Suspended.

Sound Absorption Average: Apparent absorption value from total coverage area when tested from 200 Hz to 2500 Hz in accordance with ASTM C423.

[Specifier Notes] – Retain one of the three following SAA Rating paragraphs.

        - SAA Rating: 6.78 for baffles 12 inches tall at 12-inch spacing.

        - SAA Rating: 7.35 for baffles 12 inches tall at 18-inch spacing.

        - SAA Rating: 7.61 for baffles 12 inches tall at 24-inch spacing.

Noise Reduction Coefficient: Apparent value from total coverage area when tested from 200 Hz to 2500 Hz in accordance with ASTM C423.

        - NRC Rating: 0.90 average.

[Specifier Notes] – Retain the following Paragraph if this document is a PROPRIETARY Specification, with Focal Point’s products listed as the Basis of Design. Delete if not required.

For more information on Mora see: https://www.focalpointlights.com/mora

Basis of Design Product: Mora Create, by Focal Point Lights.

Physical Configuration:

[Specifier Notes] – Modify the following paragraph to suit project requirements. Focal Point Mora Create is custom configured to individual room dimensions.

        - Array Length: Custom length; as indicated on drawings.

        - Array Width: Custom width; as indicated on drawings.

[Specifier Notes] – Retain one of the three following Baffle Spacing paragraphs.

        - Baffle Spacing: Spaced 4 inches on center.

        - Baffle Spacing: Spaced 6 inches on center.

        - Baffle Spacing: Spaced 12 inches on center.

[Specifier Notes] – Retain one of the three following Height paragraphs.

        - Height: As Indicated on Drawings.

        - Height: 7.25 inches.

        - Height: 11.25 inches.

[Specifier Notes] – Retain one of the two following Baffle Width paragraphs.

        - Baffle Width: 0.54 inches.

        - Baffle Width: 2.27 inches.

[Specifier Notes] – Retain one of the three following paragraphs.

        - Style: Alpine.

          - Description: Suspended baffle system, arranged sequentially to create an angular geometric pattern.

        - Style: Radiate.

          - Description: Suspended baffle system, arranged sequentially to create an angular geometric pattern from a central point.

        - Style: Ripple.

          - Description: Suspended baffle system, arranged sequentially to create an undulating pattern.

Installation Method: Suspended.

Sound Absorption Average: Apparent absorption value from total coverage area when tested from 200 Hz to 2500 Hz in accordance with ASTM C423.

Noise Reduction Coefficient: Apparent value from total coverage area when tested from 200 Hz to 2500 Hz in accordance with ASTM C423.

Narrow Acoustic Baffle Modular Array

[Specifier Notes] – Retain the following Paragraph if this document is a PROPRIETARY Specification, with Focal Point’s products listed as the Basis of Design. Delete if not required.

For more information on Mora see: https://www.focalpointlights.com/mora

Basis of Design Product: Mora Build, by Focal Point Lights.

    - Physical Configuration:

[Specifier Notes] – Modify the following paragraph to suit project requirements. Focal Point Mora Build is available in 1 inch increments. Minimum Length is 48 inches, maximum is 96 inches.

      - Length: 48 inches by 48 inches.

      - Length: 96 inches by 96 inches.

      - Length: As Indicated on Drawings.

[Specifier Notes] – Retain one of the three following paragraphs.

      - Height: As Indicated on Drawings.

      - Height: 7.25 inches.

      - Height: 11.25 inches.

[Specifier Notes] – Retain one of the two following paragraphs.

      - Width: 0.54 inches.

      - Width: 2.27 inches.

[Specifier Notes] – Retain one of the three following Baffle Spacing paragraphs.

Baffle Spacing: Spaced 4 inches on center.

Baffle Spacing: Spaced 6 inches on center.

Baffle Spacing: Spaced 12 inches on center.

[Specifier Notes] – Retain one of the two following Style paragraphs.

      - Style: Arch.

        - Description: Suspended baffle modules, arranged sequentially to create a concave pattern.

      - Style: Wave.

        - Description: Suspended baffle modules, arranged sequentially to create an organic undulating pattern.

    - Installation Method: Suspended.

    - Sound Absorption Average: Apparent absorption value from total coverage area when tested from 200 Hz to 2500 Hz in accordance with ASTM C423.

    - Noise Reduction Coefficient: Apparent value from total coverage area when tested from 200 Hz to 2500 Hz in accordance with ASTM C423.

Extra Narrow Unlit Acoustic Baffle.

[Specifier Notes] – Retain the following Paragraph if this document is a PROPRIETARY Specification, with Focal Point’s products listed as the Basis of Design. Delete if not required.

For more information see: https://www.focalpointlights.com/products/acoustic-acoustic-linear-baffles/trublade-autbshttps://www.focalpointlights.com/products/acoustics-suspended-linear/trublade-autbs

    - Basis of Design Product: TruBlade, by Focal Point.

Physical Requirements:

[Specifier Notes] – Modify the following paragraph to suit project requirements. Focal Point TruBlade is available in 1 inch increments. Maximum Length is 8 feet, minimum is 1 foot.

Length: Insert Custom Length.

[Specifier Notes] – Retain one of the five following Height paragraphs.

Focal Point TruBlade is available in 1 inch increments. Maximum custom height is 24 inches, minimum height is 6 inches.

      - Height: 7.25 inches.

      - Height: 11.25 inches.

      - Height: 15.25 inches.

Height: Insert Custom Height.

Height: As Indicated on Drawings.

Width: 0.54 inches.

[Specifier Notes] – Retain one of the two following paragraphs.

Installation Method: Suspended.

Sound Absorption Average: Apparent absorption value from total coverage area when tested from 200 Hz to 2500 Hz in accordance with ASTM C423.

[Specifier Notes] – Retain one of the three following SAA Rating paragraphs.

SAA Rating: 5.08 for baffles 12 inches tall at 12-inch spacing.

SAA Rating: 5.36 for baffles 12 inches tall at 18-inch spacing.

SAA Rating: 5.71 for baffles 12 inches tall at 24-inch spacing.

Noise Reduction Coefficient: Apparent value from total coverage area when tested from 200 Hz to 2500 Hz in accordance with ASTM C423.

NRC Rating: 0.70 average.

Y-Shaped Unlit Acoustic Baffle.

[Specifier Notes] – Retain the following Paragraph if this document is a PROPRIETARY Specification, with Focal Point’s products listed as the Basis of Design. Delete if not required.

For more information see: https://www.focalpointlights.com/products/acoustic-acoustic-pendants/seem-1-acoustic-trio-unlit-ausm1tp

    - Basis of Design Product: Acoustic Trio Unlit, by Focal Point.

Physical Requirements:

[Specifier Notes] – Retain one of the three following Diameter paragraphs.

Diameter: As Indicated on Drawings.

Diameter: 4 feet.

Diameter: 6 feet.

[Specifier Notes] – Retain one of the four following Height paragraphs.

      - Height: As Indicated on Drawings.

      - Height: 7.25 inches.

      - Height: 11.25 inches.

      - Height: 15.25 inches.

Width: 2.27 inches.

Installation Method: Suspended.

Sound Absorption Average: Apparent absorption value from each unit when tested from 100 Hz to 5000 Hz in accordance with ASTM C423-17.

[Specifier Notes] – Retain one of the two following paragraphs.

Configuration: Geo Y; 12.24 Sabins per unit.

Configuration: Staggered Hex; 12.07 Sabins per unit.

Unlit Lay-In Acoustic Ceiling Tile.

[Specifier Notes] – Retain the following Paragraph if this document is a PROPRIETARY Specification, with Focal Point’s products listed as the Basis of Design. Delete if not required.

For more information on Nivo Acoustic see: https://www.focalpointlights.com/products/acoustics/nivo-acoustic-2x2-aunv

    - Basis of Design Product: Nivo Tile, by Focal Point.

Physical Requirements:

Length: 24 inches.

Width: 24 inches.

[Specifier Notes] – Retain one of the nine following Drop Height paragraphs.

Drop Height: As Indicated on Drawings.

Drop Height: Flush.

Drop Height: 1 inch.

Drop Height: 2 inches.

Drop Height: 3 inches.

Drop Height: 4 inches.

Drop Height: 5 inches.

Drop Height: 6 inches.

Drop Height: 7 inches.

[Specifier Notes] – Revise the following paragraph to suit project requirements. Focal Point Nivo tile is compatible with 9/16 inch or 15/16 inch ceiling grids.

Installation Method: Suspended ceiling grid per section 09 51 23.

Noise Reduction Coefficient: Apparent value from total coverage area when tested from 200 Hz to 2500 Hz in accordance with ASTM C423

[Specifier Notes] – Retain one of the following three NRC Rating paragraphs to suit project requirements.

NRC Rating: 0.90 for flush tiles.

NRC Rating 1.05 for 1 inch drop tiles.

NRC Rating 1.30 for 7 inch drop tiles.

Unlit Tapered Lay-In Acoustic Ceiling Tile.

[Specifier Notes] – Retain the following Paragraph if this document is a PROPRIETARY Specification, with Focal Point’s products listed as the Basis of Design. Delete if not required.

For more information on Ori Acoustic see: https://www.focalpointlights.com/products/acoustic-acoustic-tiles/ori-acoustic-2x2-auo

    - Basis of Design Product: Ori, by Focal Point.

Physical Requirements:

Length: 24 inches.

Width: 24 inches.

Drop Height: Varies, as indicated on drawings.

[Specifier Notes] – Revise the following paragraph to suit project requirements. Focal Point Nivo tile is compatible with 9/16 inch or 15/16 inch ceiling grids.

Installation Method: Suspended ceiling grid per section 09 51 23.

Noise Reduction Coefficient: Apparent value from total coverage area when tested from 200 Hz to 2500 Hz in accordance with ASTM C423

NRC Rating: 1.10 average.

Unlit Circular Acoustic Cloud.

[Specifier Notes] – Retain the following Paragraph if this document is a PROPRIETARY Specification, with Focal Point’s products listed as the Basis of Design. Delete if not required.

For more information on Skydome Edge see: https://www.focalpointlights.com/products/acoustic-acoustic-pendants/skydome-edge-acoustic-surface-mount-ausdephttps://www.focalpointlights.com/Skydome/SkydomeEdge

    - Basis of Design Product: Skydome Edge, by Focal Point.

Physical Requirements:

[Specifier Notes] – Retain one of the three following Diameter paragraphs.

Diameter: 22.6 inches.

Diameter: 33.4 inches.

Diameter: 44.7 inches.

[Specifier Notes] – Retain one of the three following Height paragraphs.

Height: As Indicated on Drawings.

Height: 3.0 inches.

Height: 3.7 inches.

[Specifier Notes] – Retain one of the two following Installation Method paragraphs.

Installation Method: Suspended.

Installation Method: Surface Mounted.

Sound Absorption Average: Apparent absorption value from total coverage area when tested from 200 Hz to 2500 Hz in accordance with ASTM C423.

SAA Rating: 11.52 for 4 feet diameter, 16 inch spacing.

Noise Reduction Coefficient: Apparent value from total coverage area when tested from 200 Hz to 2500 Hz in accordance with ASTM C423.

Rating: 1.05 NRC.

Unlit Hexagonal Dome-Shaped Acoustic Reflector.

[Specifier Notes] – Retain the following Paragraph if this document is a PROPRIETARY Specification, with Focal Point’s products listed as the Basis of Design. Delete if not required.

For more information on Polina see: https://www.focalpointlights.com/products/acoustic-pendants/polina-apolp

    - Basis of Design Product: Polina, by Focal Point.

    - Physical Requirements:

[Specifier Notes] – Retain one of the two following paragraphs.

      - Installation Method: Pendant mounted.

      - Installation Method: Wall mounted.

[Specifier Notes] – Retain one of the two following paragraphs.

      - Size: 42 inch diameter hexagon.

      - Size: 27 inch diameter hexagon.

[Specifier Notes] – Retain the first of the following Reflector Height subparagraphs for pendant mounted units. Retain the second for wall mounted units.

      - Reflector Height: 3.2 inches.

      - Reflector Height: 3.6 inches.

      - Material: Multi-layer thermoformed PET.

[Specifier Notes] – Retain one of the three following paragraphs.

      - Housing Finish: Black.

      - Housing Finish: White.

      - Housing Finish: Palladium Silver.

      - Panel Color: White reflective interior with neutral gray exterior.

    - Noise Reduction Coefficient: Apparent value from each unit when tested from 200 Hz to 2500 Hz in accordance with ASTM C423.

      - Rating: 0.70 NRC.

    - Sound Absorption Average: Apparent absorption value from total coverage area when tested from 200 Hz to 2500 Hz in accordance with ASTM C423.

      - SAA Rating: 0.70 for baffles 4 inches tall at 6-inch spacing.

  - Unlit Acoustic Canopy

[Specifier Notes] – Retain the following Paragraph if this document is a PROPRIETARY Specification, with Focal Point’s products listed as the Basis of Design. Delete if not required.

For more information on Plyta Circle see: https://www.focalpointlights.com/products/acoustic-pendants/plyta-circle-apy-cir 

For more information on Plyta Ovo see: https://www.focalpointlights.com/products/acoustic-pendants/plyta-ovo-apy-ovo

For more information on Plyta Triangle see: https://www.focalpointlights.com/products/acoustic-pendants/plyta-triangle-apy-tri

    - Basis of Design Product: Plyta [Circle] [Ovo] [Triangle], by Focal Point.

    - Physical Requirements:

      - Installation Method: Pendant mounted.

        - Cable Length: Up to 72 inches, straight feed.

        - Cable Length: Up to 144 inches, straight feed.

[Specifier Notes] – Retain one of the following three Shape paragraphs.

      - Shape: Circle.

      - Shape: Ovo.

      - Shape: Triangle.

[Specifier Notes] – Retain one of the following three Diameter paragraphs.

      - Diameter: 24 inch Nominal.

      - Diameter: 36 inch Nominal.

      - Diameter: 48 inch Nominal.

      - Thickness: 18mm

      - Material: Aluminum luminaire housing with PET felt diffusion panel.

[Specifier Notes] – Retain one of the following three Housing Finish paragraphs.

      - Housing Finish: Black.

      - Housing Finish: White.

      - Housing Finish: Palladium Silver.

    - Sustainability Standards:

      - PET material is 100% polyester containing up to 50% recycled plastic bottles.

      - Declare Certified, LBC Red List Free.

      - ASTM E-84 Class A.

      - CAN ULC S102 fire rating.

[Specifier Notes] – Because Plyta features multiple sizes and shapes, ensure your specification reflects the specific configuration chosen for your project. You can use Focal Point's online Acoustic Calculator to verify layout and reverberation time performance for your specific space.

    - Noise Reduction Coefficient: Apparent value from total coverage area when tested from 200 Hz to 2500 Hz in accordance with ASTM C423.

      - NRC Rating: 0.70 for 24 inch size.

      - NRC Rating: 0.80 for 36 inch size.

      - NRC Rating: 0.85 for 48 inch size.

  - Radial Arrayed Baffle Cloud.

[Specifier Notes] – Retain the following Paragraph if this document is a PROPRIETARY Specification, with Focal Point’s products listed as the Basis of Design. Delete if not required.

For more information on Lia Cloche see: https://www.focalpointlights.com/products/acoustic-pendants/lia-cloche-dlia-clo

For more information on Lia Curve see: https://www.focalpointlights.com/products/acoustic-acoustic-pendants/lia-curve-dlia-crv1https://www.focalpointlights.com/Blume

For more information on Lia Facet see: https://www.focalpointlights.com/products/acoustic-pendants/lia-facet-dlia-fchttps://www.focalpointlights.com/Blume

    - Basis of Design Product: Lia [Curve] [Cloche] [Facet], by Focal Point.

    - Physical Requirements:

[Specifier Notes] – Retain one of the following Diameter subparagraphs. The 60 inch diameter is only available for the Lia Curve option.

      - Diameter: Nominal, 36 inches.

      - Diameter: Nominal, 48 inches.

      - Diameter: Nominal, 60 inches.

      - Height: 12 inches

      - Height: 18 inches.

[Specifier Notes] – Retain the first of the following Baffle Surround subparagraphs for the Lia Cloche. Retain the second for the Lia Curve. Retain the third option for the Lia Facet.

      - Baffle Surround: PET felt fins arranged in a circular array, creating a soft bell shape with a classic rounded crown.

      - Baffle Surround: PET felt fins arranged in a circular array, creating a symmetrical, gently curving drum.

      - Baffle Surround: Crisscrossing PET felt fins arranged in a circular array, creating a multifaceted shape.

      - Baffle Thickness: 9mm

    - Installation Method: Suspended.

      - Mounting: Cable mount.

      - Mounting: Fixed stem mount.

    - Noise Reduction Coefficient: Apparent value from each unit when tested from 200 Hz to 2500 Hz in accordance with ASTM C423.

      - Rating: 0.90 NRC.

Mounting Systems

Luminaire Suspension: Direct to Strut

Description: Luminaires directly affixed to strut structure

Luminaire Suspension: Cable Suspension.

Description: Luminaires suspended via aerial cables.

Luminaire Suspension: Stem Mounted.

Description: Luminaires suspended via aluminum stem, affixed directly to ceiling with J-box mounting bracket.

Luminaire Suspension: Wall Mounted.

Description: Luminaires affixed directly to wall J-box, secured with mounting bracket and set screw.

Baffle Suspension: Strut Clip.

Description: Secured using the StrutKlip proprietary clip system.

Baffle Suspension: Strut Magnet.

Description: Secured using a magnetic system.

Baffle Suspension: Cable Suspension.

Description: Baffles suspended directly via aerial cables.

Execution

Examination

Do not begin work until adjacent substrates have been properly prepared to receive work specified in this section.

Verify that locations of concealed reinforcements have been clearly marked for the installer.

Locate reinforcement points and clearly mark their locations if not already done.

Preparation

Clean surfaces prior to installation.

Protect all adjacent surfaces from possible damage during installation of units.

Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

Installation

Install in accordance with manufacturer’s current installation instructions, industry recognized best practices, and all code bodies having jurisdiction; do not install damaged products.

Test for proper operation and adjust until satisfactory results are obtained.

Adjust fixture suspension heights to match RCP and submittal drawings.

Protect finishes from damage during installation using manufacturer’s recommendations.

Cleaning and Protection

Remove dust and debris with a clean, soft lint-free cloth or vacuum.

Damaged products must be repaired or replaced prior to substantial completion.

Protect installed products until completion of work specified in this section.

End of Section